License application guidelines

For right-of-way-access

In order to assist with the license application, TriMet provides the following guidelines:

Time:

- License applications should be submitted at least eight weeks in advance of anticipated access. Licenses require review by multiple TriMet departments including Real Property, Maintenance of Way, Right of Way, Engineering and Legal.

- License applications for fiber or cell towers may take up to six months, as they require FTA approval. Typically these are leases (e.g., ATT cell tower).

Submittals:

- To ensure receipt by TriMet, applications should be sent to baughj@trimet.org along with any supporting documentation such as drawings. Drawings should be sent in PDF format.

- Mailed applications may be sent to:

TriMet Real Property

Attn: Janni Baugh

1800 SW First Ave

Suite 300

Portland, OR 97201

General Design Criteria:

- Pipelines crossing underneath the light rail tracks carrying water or pressure sanitary storm sewers shall be encased.

- Pipelines and conduits, which contain flammable materials, such as gas lines, do not need to be cased. If casing pipe is installed it shall be vented and approved on a case-by-case basis by TriMet.

- Casing pipes shall be designed to withstand Light Rail Train (“LRT”) loadings and shall be protected against corrosion. The end of casing pipes shall be sealed and the annular space between the carrier pipe and the casing pipe shall be filled with sand. When casings are bored or augured under LRT tracks, provisions shall be made to ensure no voids are created.

- Minimum cover for utilities trenched under proposed LRT tracks is 6’0” below top-of-rail. Trenching is not allowed across existing LRT tracks.

- Minimum cover for utilities augured or pushed under existing LRT tracks is 7’0” below top-of-rail.

- Minimum cover for utilities directionally drilled under existing LRT tracks is 10’0” below top-of-rail.

- Where possible, all utilities shall cross beneath the LRT right-of-way at 90 degrees to the LRT centerline.

- New or replacement utilities that run longitudinally adjacent to the LRT right-of-way, unless other wise approved by TriMet, shall be located a minimum of 10’ from the centerline of track to the near edge of longitudinal pipe.

- All non-metallic LRT utilities pipes or casings shall have tone wires that terminate in a handhole to facilitate locating buried pipes.

- All abandoned pipes beneath the trackbed shall be plugged and filled with sand or controlled density fill (“CDF”) or low-strength concrete slurry, unless otherwise approved by TriMet.

- TriMet does not allow crossings or parallel systems to the Overhead Catenary System (“OCS”) on our right-of-way unless, in TriMet’s sole judgment, it is on a structure or at an elevation that allows TriMet ample room to operate and maintain the system. Clearances for anything parallel to TriMet’s system should be a minimum of 15’ from the centerline of our track. This is dependent upon the specific location that is being considered.

- TriMet does not rent space and/or allow foreign contacts on our exclusive OCS poles.

Fees:

- TriMet’s standard license application fee is $2,000.

- Additional fees may be charged based on any additional TriMet personnel that may be required on-site during excavation.

- TriMet may charge additional annual fees for fiber optic lines, cell towers, and other private intrusions into the Right of Way. Fees will be determined at the time a License Application is submitted to TriMet.

License application

For right-of-way-access

No.: __________

## SECTION I

- Name of proposed licensee:

- Mailing address:

- City:      	State:       Zip:

- Name of contact person:

- Phone number:      	E-Mail:

- Effective date desired:

- Do you now have an existing license with TriMet at this location?

- Is the application for a new facility or relocation of existing facility?

## SECTION II

- Describe the proposed facility, including its purpose, location, materials and construction methods. Is this use underground, above ground or a combination? Are you aware of other existing underground facilities? 
NOTE: Conduit shall be bored or jacked under trackage unless otherwise approved by TriMet Engineering.

- Length of underground crossing:

- Depth of underground crossing:

3.	Carrier pipe: 	Dia.:       Length:       Type:

4.	Inner conduit: 	Dia.:       Length:       Type:

5.	Wire: 	Size:       Type:       lb.

- Crossing is located within a (check one): Dedicated street   Private right-of-way

- Please fill in the blanks corresponding to figures A and B below.

Name of nearest MAX station on each side of proposed facility:

Name of street at nearest crossing:

Distance from proposed facility to nearest street crossing:

Angle at which proposed facility intersects right-of way:

In Figure A, north is most closely approximated by: Left   Right   Up   Down

B.	Construction shall be performed under applicable sections of current Oregon Department of Transportation (ODOT) Standard Specifications for Highway Construction.

List the major components of the proposed work and the applicable ODOT specification section:

Section					Title

C.	If you are drilling, jacking, or boring under our facility, what are the locations of the jacking and receiving pits (location, length, width, depth and distance from the nearest track)?

If you access our right-of-way with vehicles, where will they enter and exit?

E.	If you are working in the TriMet right-of-way, you must complete the attached “MAX Right-of-Way Access Request/Permit.”

Please note:	Licensee will be required to cover any expense involved in restoring the right-of-way, including roadways.

Send completed application to:

TriMet Real Property

Attn: Janni Baugh

1800 SW First Ave

Suite 300

Portland, OR 97201

baughj@trimet.org

#### This page is intentionally blank,

#### to assure proper pagination for double-sided printing. For single-sided printing, this page can be skipped.